Minutes

PUBLIC WORKS COMMITTEE

Monday April 7th, 2025, 11:00 A.M.

Village Board Room, 30 South First Street

Called to order by chair Paul Olson at 11am

Roll Call

Chair-Paul Olson - Present

Trustee Steve Foster- Present

Trustee Michael Bouras- Present

Village Administrator Logan Fuller - Absent

Director of Public Works James Fluette- Present

Assistant Public Works Director Allen Mankiewicz - Absent

Approval of Minutes

March 10th, 2025

Motion by Foster and seconded by Bouras and carried by voice vote to approve the March 10th Minutes as presented.

Public Participation

None

Communications

None

Operations

McMahon – Report in new business

MCO

Waterworks:

- Quarterly public notice regarding gross alpha sent out.  Last one!  Test passed.

- Water meters were read.  Issues with back-room computer.

- New water meter installs on going.

- High water bill investigations- Met with customers to discuss their usage and look for leaks. Ongoing.

- Several R.O. high pressure alarms.  One call in for power outage.  Fixed before getting Gen hooked up.

- Hydrant and valve replaced on Grant and Ingersol.

- Submitted monthly DNR report.

- Monthly distribution bacteriological samples were safe.

- All Digger’s Hotline locates are up to date.

Wastewater:

- Raw pump 2 cover replaced, back in operation.

- Several high flow events.

- Speedy Clean Vac and Jet between 1st and 2nd street on Grant.

- 2nd load of Ferric delivered.

- Landings L.S. Pump 1 was pulled and inspected.  Not clogged.  Reset controls, been running good since.

- Submitted monthly DNR report.

- Generators exercised.

- Preventative maintenance performed on equipment.

- Weekly visual lift station inspections were completed.

Directors Report

Safe Days

2057

Status of the budget

25.59%

Major Projects

Well 1 renovation.

Punch list work continues.

Well 2 Renovation.

Punch list work continues

6th Ave Utility Rebuild

Sent out letters to inform.

Bid Opening Wed 3/12/25

Adams Street from 2nd to 3rd replacement

Sent out letters to inform.

Bid Opening Wed 3/12/25

Key Events

Normal Trash pickup.

Several cemeteries event.

Few salting events.

Cold patched potholes.

Weekly meetings with MCO

Changed out Banners

Swept all streets

Replaced a valve, hydrant on grant with Immel

A few curb side chipping events

Lots of Park and Cemetery work.

Pool Credit

None

Equipment

No issues

Personnel

Ron Spaulding is retiring after 8 years, He started with the village April of 2017

Old Business

Discuss/vote public works fees – Fees were discussed and no changes to be made.

New Business

Discuss/Vote on awarding contract for 2025 road construction project

Motion by Foster seconded by Bouras and carried by voice vote to approve the 2025 road construction bid for $1,005,829.00 to Jossart Brothers Inc.

Discuss 2025 Road Construction schedule – A schedule will be distributed when after the contractor meeting.

Set date for public information date for construction.

April 22nd at 5:30pm

Confirm next meeting date:

May 12th 11am

Adjourn

Motion by Foster seconded by Bouras to Adjourn at 11:55 carried by voice vote